RFI

Return-air route at hall opening

Cooper Residence Renovation / CR-2026-017 / RFI-017

| Ball in court | Due date | Cost impact | Schedule impact |
| --- | --- | --- | --- |
| Vector MEP / Mechanical Engineer | 2026-07-14 | To be determined | Ceiling framing hold in the hall |

## Existing condition

Existing condition

The M1.1 return-air route crosses the framed opening clearance zone at the hall.

## Contract-document conflict

Contract-document conflict

The plan route and architectural opening occupy the same coordination zone; elevation information is not stated on plan.

## Question

Question

Please provide the approved elevation and routing for RA-2 at opening H-2, or confirm an alternate route above the laundry ceiling.

## Suggested answer - for review

Suggested answer - for review

Route above the laundry ceiling with the same free area, subject to engineer approval and fire-rating review.

## Official response

Official response

Pending

## Activity and chronology

| Time | Actor | Event |
| --- | --- | --- |
| 2026-07-11 15:42 PDT | Jordan Cho | RFI issued to Vector MEP with A1.1 and M1.1 references. |

# Evidence register

| Type | Evidence | Location / capture |
| --- | --- | --- |
| - | No evidence linked | - |

# Source index

Every requirement statement must be checked against the exact document revision below. Superseded or unapproved sources cannot authorize work.

| # | Document / revision | Page | Cited requirement |
| --- | --- | --- | --- |
| 1 | M1.1 / Rev 03 / APPROVED SHA-256: 0cf37243d039fc7567f78f33ae19444cbbd17c6cc19840485228be3e5fea0726 | 1 | Return-air branch RA-2 passes through the hall coordination zone. |

# Review control

| Report ID | Version | Generated | Status |
| --- | --- | --- | --- |
| rpt_demo_rfi017 | 1 | 2026-07-12 17:25 UTC | DRAFT / REVIEW REQUIRED |

BUILI assembles a traceable review record. It does not make a design decision, authorize a change, determine contractual entitlement, or replace review by the responsible architect, engineer, contractor, or authority having jurisdiction.