CHANGE EVENT

Existing footing discovered below new laundry wall

Cooper Residence Renovation / CR-2026-017 / CE-007

| Origin | Change reason | Scope | Prepared by |
| --- | --- | --- | --- |
| Field observation BUI-1034 | Unforeseen existing condition | TBD - outside original documented condition | Jordan Cho / Project Manager |

## Original scope

Original scope

A1.1 indicates a clear trench path for the new laundry waste line.

## Changed condition

Changed condition

Selective demolition exposed an undocumented concrete footing within the new plumbing trench alignment.

## Basis of change

Basis of change

The concealed footing requires a revised route or engineered penetration and was not shown in the bid documents.

## Commercial position

Commercial position

TBD - outside original documented condition

## Cost and production line items

| Cost code | Description | Qty / UOM | ROM |
| --- | --- | --- | --- |
| 02-4119 | Selective demolition and footing exposure | 6 labor hr | $720 |
| 22-1316 | Re-route laundry waste line | 1 lot | $3,130 |

## Activity and chronology

| Time | Actor | Event |
| --- | --- | --- |
| 2026-07-10 08:05 PDT | Northstar field team | Footing exposed during selective demolition. |
| 2026-07-10 08:22 PDT | Jordan Cho | Work in trench zone held and designer notified. |

# Evidence register

| Type | Evidence | Location / capture |
| --- | --- | --- |
| - | No evidence linked | - |

# Source index

Every requirement statement must be checked against the exact document revision below. Superseded or unapproved sources cannot authorize work.

| # | Document / revision | Page | Cited requirement |
| --- | --- | --- | --- |
| 1 | A1.1 / Rev 03 / APPROVED SHA-256: 0583ecbdf0ef7cc120778af37f5543c9efc177fa93d0bef67366806b7f8c154a | 1 | Laundry plumbing route is coordinated through the south wall zone. |

# Review control

| Report ID | Version | Generated | Status |
| --- | --- | --- | --- |
| rpt_demo_ce007 | 1 | 2026-07-12 17:25 UTC | DRAFT / REVIEW REQUIRED |

BUILI assembles a traceable review record. It does not make a design decision, authorize a change, determine contractual entitlement, or replace review by the responsible architect, engineer, contractor, or authority having jurisdiction.