DAILY REPORT

Daily field report - electrical rough-in

Cooper Residence Renovation / CR-2026-017 / DR-2026-07-12

| Report date | Prepared by | Weather | Safety |
| --- | --- | --- | --- |
| 2026-07-12 | Jordan Cho / Project Manager | Clear, 72-84 °F; dry access and no weather delay. | Pre-task plan completed. No incidents, near misses, or failed inspections reported. |

## Work completed

Work completed

Electrical branch rough-in at garage and living areas; laundry supply rough-in; office partition layout verification.

## Weather and site conditions

Weather and site conditions

Clear, 72-84 °F; dry access and no weather delay.

## Safety and inspections

Safety and inspections

Pre-task plan completed. No incidents, near misses, or failed inspections reported.

## Open field observation

Open field observation

Garage GFCI elevation was documented and routed to punch before wall close-in.

## Manpower

| Company | Trade | Workers | Hours |
| --- | --- | --- | --- |
| Northstar Builders | General | 3 | 24 |
| Delta Electrical | Electrical | 4 | 32 |
| ClearFlow Plumbing | Plumbing | 2 | 16 |

## Activity and chronology

| Time | Actor | Event |
| --- | --- | --- |
| 07:00 PDT | Mike Alvarez | Daily huddle and pre-task plan completed. |
| 10:18 PDT | Mike Alvarez | GFCI elevation evidence captured in garage. |
| 15:30 PDT | Jordan Cho | Daily report reviewed and marked complete. |

# Evidence register

| Type | Evidence | Location / capture |
| --- | --- | --- |
| PHOTO | Garage east wall context Open stud wall near the garage entry door; GFCI rough-in visible. | Residence / Garage / East wall / Entry door 2026-07-12T10:18:00-07:00 |
| MEASUREMENT | GFCI centerline tape measurement Tape shows receptacle centerline at approximately 12 inches AFF. | Residence / Garage / East wall / Entry door 2026-07-12T10:18:20-07:00 |
| PHOTO | Receptacle rough-in detail Close view of the installed box before wall close-in. | Residence / Garage / East wall / Entry door 2026-07-12T10:18:38-07:00 |

## Field image review

Garage east wall context / Residence / Garage / East wall / Entry door

GFCI centerline tape measurement / Residence / Garage / East wall / Entry door

Receptacle rough-in detail / Residence / Garage / East wall / Entry door

# Source index

Every requirement statement must be checked against the exact document revision below. Superseded or unapproved sources cannot authorize work.

| # | Document / revision | Page | Cited requirement |
| --- | --- | --- | --- |
| - | No source linked | - | Official approval is blocked until a source is linked. |

# Review control

| Report ID | Version | Generated | Status |
| --- | --- | --- | --- |
| rpt_demo_daily_20260712 | 1 | 2026-07-12 17:25 UTC | DRAFT / REVIEW REQUIRED |

BUILI assembles a traceable review record. It does not make a design decision, authorize a change, determine contractual entitlement, or replace review by the responsible architect, engineer, contractor, or authority having jurisdiction.