RFI

Office partition dimension conflict at grid C

Cooper Residence Renovation / CR-2026-017 / RFI-018

| Ball in court | Due date | Cost impact | Schedule impact |
| --- | --- | --- | --- |
| Studio North Architects | 2026-07-16 | Unknown - layout hold only | Two working days if unanswered after July 16 |

## Existing condition

Existing condition

A1.1 locates the office partition from the exterior face, while Detail 4/A5.2 dimensions the same partition from the structural grid.

## Contract-document conflict

Contract-document conflict

The two references produce a 76 mm difference in partition location.

## Question

Question

Please confirm the controlling reference for the office partition and provide the approved offset from grid C.

## Suggested answer - for review

Suggested answer - for review

Use the grid-based dimension shown in the enlarged detail, subject to architect confirmation.

# Evidence register

| Type | Evidence | Location / capture |
| --- | --- | --- |
| - | No evidence linked | - |

# Source index

Every requirement statement must be checked against the exact document revision below. Superseded or unapproved sources cannot authorize work.

| # | Document / revision | Page | Cited requirement |
| --- | --- | --- | --- |
| 1 | A1.1 / Rev 03 / APPROVED SHA-256: 0583ecbdf0ef7cc120778af37f5543c9efc177fa93d0bef67366806b7f8c154a | 1 | Office partition is dimensioned from the west exterior wall face. |

# Review control

| Report ID | Version | Generated | Status |
| --- | --- | --- | --- |
| rpt_demo_rfi018 | 1 | 2026-07-12 17:25 UTC | DRAFT / REVIEW REQUIRED |

BUILI assembles a traceable review record. It does not make a design decision, authorize a change, determine contractual entitlement, or replace review by the responsible architect, engineer, contractor, or authority having jurisdiction.